## SUMMARY
Oakland Center
Monthly Utility Cost Summary
prepared by Jim Leidel - Campus Energy Manager
89%
| HTHW | Electricity | Natural Gas | Water & Sewer | Monthly Totals | OC Portion Monthly Totals | OC Portion Quarterly Totals
2003-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2003-07-01 | 1995.84 | 6798.96 | 78.5258 | 1186.4973 | 10059.8231 | 8953.2426
2003-08-01 | 3336.795 | 9078.96 | 90.2514 | 1186.4973 | 13692.5037 | 12186.3283
2003-09-01 | 2494.8 | 8938.36 | 764.8271 | 1461.1544 | 13659.1415 | 12156.636 | 33296.2068
2003-10-01 | 11548.845 | 15329.2 | 1347.5526 | 2152.9269 | 30378.5245 | 27036.8868
2003-11-01 | 14180.859 | 14356.4 | 1213.4191 | 1978.8341 | 31729.5122 | 28239.2659
2003-12-01 | 20771.289 | 16248.8 | 1260.4991 | 2012.3388 | 40292.9268 | 35860.7049 | 91136.8575
2004-01-01 | 21896.6517 | 15238 | 1516.3298 | 1663.7261 | 40314.7076 | 35880.0898
2004-02-01 | 19560.3754 | 14006.8 | 1289.813 | 2840.5278 | 37697.5162 | 33550.7894
2004-03-01 | 16047.0733 | 13847.2 | 1204.5361 | 1509.4405 | 32608.25 | 29021.3425 | 98452.2217
2004-04-01 | 14572.7505 | 17487.6 | 1374.2016 | 3127.7493 | 36562.3014 | 32540.4483
2004-05-01 | 8341.9875 | 12509.6 | 780.8166 | 2463.643 | 24096.0471 | 21445.4819
2004-06-01 | 7690.221 | 12730 | 824.3433 | 2523.4425 | 23768.0068 | 21153.5261 | 75139.4563 | 298024.7423
2004-07-21 | 9796.0242 | 39516.3 | 855.4859 | 2396.7246 | 52564.5347 | 46782.4359
2004-08-01 | 10030.9945 | 25671.9 | 825.3034 | 3419.426 | 39947.6239 | 35553.3853
2004-09-01 | 7466.4614 | 22683.9 | 1194.0961 | 2617.4131 | 33961.8706 | 30226.0649 | 112561.886
2004-10-01 | 10667.6522 | 20642.1 | 1909.0447 | 3410.9425 | 36629.7394 | 32600.468
2004-11-01 | 14748.3033 | 18426 | 1497.8078 | 2591.3102 | 37263.4212 | 33164.4449
2004-12-01 | 24005.0147 | 18717.75 | 1289.3597 | 2261.4639 | 46273.5883 | 41183.4936 | 106948.4065
2005-01-01 | 23193.8077 | 15902.8 | 1545.9112 | 2144.238 | 42786.7568 | 38080.2135
2005-02-01 | 19321.2731 | 15570.8 | 1557.2296 | 2262.8877 | 38712.1904 | 34453.8495
2005-03-01 | 15021.3164 | 11636.6 | 1005.4553 | 1584.6858 | 29248.0576 | 26030.7712 | 98564.8343
2005-04-01 | 14884.8098 | 21671.3 | 1561.9456 | 3137.5735 | 41255.629 | 36717.5098
2005-05-01 | 11315.4989 | 17712.2 | 812.0985 | 2567.1056 | 32406.9031 | 28842.1437
2005-06-01 | 8005.7742 | 20285.2 | 812.0985 | 2671.0428 | 31774.1155 | 28278.9628 | 93838.6164 | 411913.7432
2005-07-01 | 9240.1465 | 22236 | 822.2362 | 3922.5602 | 36220.9429 | 32236.6391 |  | 38.21%
2005-08-01 | 10775.2051 | 28143.5 | 781.5216 | 4305.5615 | 44005.7881 | 39165.1514
2005-09-01 | 10753.9907 | 27667.5 | 1135.0434 | 3626.0307 | 43182.5649 | 38432.4827 | 109834.2733
2005-10-01 | 8708.3584 | 19805 | 828.5916 | 2614.9452 | 31956.8952 | 28441.6367
2005-11-01 | 10282.9852 | 16294.5 | 1761.2537 | 1790.6618 | 30129.4007 | 26815.1666
2005-12-01 | 13155.2609 | 12095.5 | 1225.4099 | 1697.6404 | 28173.8112 | 25074.6919 | 80331.4952
2006-01-01 | 20252.5229 | 17501.5 | 1460.7601 | 1558.5829 | 40773.3659 | 36288.2957
2006-02-01 | 16394.6157 | 16626 | 1882.8016 | 1783.5428 | 36686.9601 | 32651.3945
2006-03-01 | 17517.3061 | 15597.5 | 1579.9248 | 1363.9973 | 36058.7282 | 32092.2681 | 101031.9583
2006-04-01 | 16082.36 | 20544.5 | 1858.9687 | 2103.8971 | 40589.7258 | 36124.856
2006-05-01 | 10706.0798 | 20094 | 1069.5028 | 2573.75 | 34443.3326 | 30654.566
2006-06-01 | 8905.2463 | 20094 | 562.06 | 2203.0882 | 31764.3946 | 28270.3112 | 95049.7331 | 386247.46
2006-07-01 | 12622.3421 | 28101 | 1147.6807 | 2963.6805 | 44834.7032 | 39902.8859 |  | -6.231%
2006-08-01 | 11353.45 | 28379.4 | 1003.605 | 2906.1591 | 43642.6141 | 38841.9266
2006-09-01 | 12110.5529 | 28692.6 | 2076.4075 | 4105.2807 | 46984.8412 | 41816.5087 | 120561.3211
2006-10-01 | 9626.4872 | 18696.3 | 3186.0245 | 3090.1136 | 34598.9253 | 30793.0435
2006-11-01 | 18189.3515 | 19261.8 | 3077.0633 | 2533.9311 | 43062.1459 | 38325.3099
2006-12-01 | 25238.8239 | 20427.6 | 3386.513 | 2121.9318 | 51174.8688 | 45545.6332 | 114663.9866
2007-01-01 | 22108.0221 | 14120.1 | 1836.3588 | 1426.9291 | 39491.4101 | 35147.355
2007-02-01 | 34849.3584 | 19696.8 | 3616.0579 | 1998.7259 | 60160.9422 | 53543.2386
2007-03-01 | 25769.1704 | 17130.3 | 4516.8035 | 1872.1504 | 49288.4242 | 43866.6976 | 132557.2911
2007-04-01 | 23829.2876 | 20401.5 | 2940.4986 | 2105.9378 | 49277.224 | 43856.7294
2007-05-01 | 14965.9262 | 20036.1 | 562.2396 | 2363.4078 | 37927.6736 | 33755.6295
2007-06-01 | 12087.1122 | 14720.4 | 1051.8384 | 2220.1263 | 30079.477 | 26770.7345 | 104383.0934 | 472165.6922
2007-07-01 | 17893.8306 | 32733 | 1499.3619 | 4100.6679 | 56226.8605 | 50041.9058 |  | 22.24%
2007-08-01 | 14910.8241 | 29943 | 1322.2085 | 3279.8102 | 49455.8428 | 44015.7001
2007-09-01 | 17604.881 | 34641 | 2085.5786 | 3762.5583 | 58094.018 | 51703.676 | 145761.2819
2007-10-01 | 12978.3936 | 24615 | 1992.1705 | 2750.3334 | 42335.8975 | 37678.9487
2007-11-01 | 21486.0286 | 25605 | 3589.772 | 2779.6917 | 53460.4924 | 47579.8382
2007-12-01 | 21754.8487 | 15849 | 3238.6862 | 2187.6818 | 43030.2168 | 38296.8929 | 123555.6799
2008-01-01 | 25547.2436 | 15525 | 2045.3165 | 980.6158 | 44098.1759 | 39247.3765
2008-02-01 | 31069.1272 | 20043 | 3261.233 | 2154.9473 | 56528.3075 | 50310.1937
2008-03-01 | 28365.0054 | 20205 | 5209.9204 | 2219.927 | 55999.8528 | 49839.869 | 139397.4392
2008-04-01 | 19462.6495 | 21105 | 3457.7122 | 2274.2888 | 46299.6505 | 41206.6889
2008-05-01 | 13078.492 | 20727 | 2021.1592 | 2310.693 | 38137.3443 | 33942.2364
2008-06-01 | 13045.0038 | 25272 | 1628.2008 | 2538.5134 | 42483.718 | 37810.509 | 112959.4343 | 521673.8353
2008-07-01 | 10960.6146 | 24507.25 | 1424.8121 | 2723.3245 | 39616.0011 | 35258.241 |  | 10.49%
2008-08-01 | 10993.8355 | 25776.45 | 1384.0584 | 3087.8957 | 41242.2396 | 36705.5932
2008-09-01 | 10860.4246 | 25191.95 | 1846.4561 | 3353.5885 | 41252.4192 | 36714.6531 | 108678.4873
2008-10-01 | 14492.0499 | 23046 | 2371.5518 | 3191.2856 | 43100.8873 | 38359.7897
2008-11-01 | 20256.3168 | 18591.275 | 3580.0558 | 2904.8405 | 45332.4881 | 40345.9144
2008-12-01 | 22604.9823 | 17338.775 | 3407.6363 | 2067.7437 | 45419.1373 | 40423.0322 | 119128.7363
2009-01-01 | 30784.005 | 15614.5 | 2672.5023 | 1725.0393 | 50796.0465 | 45208.4814
2009-02-01 | 30777.853 | 16232.4 | 3570.6511 | 2613.4064 | 53194.3105 | 47342.9363
2009-03-01 | 25149.282 | 17188.475 | 3365.3151 | 2030.1136 | 47733.1858 | 42482.5353 | 135033.9531
2009-04-01 | 20820.1934 | 18407.575 | 4581.6563 | 3541.102 | 47350.5268 | 42141.9688
2009-05-01 | 11093.4982 | 16165.6 | 1656.7946 | 2010.529 | 30926.4219 | 27524.5155
2009-06-01 | 12069.2086 | 20591.1 | 1506.3194 | 3120.8021 | 37287.4302 | 33185.8129 | 102852.2972 | 465693.4739
2009-07-01 | 12095.3816 | 26834.5 | 1377.5174 | 3165.1727 | 43472.5717 | 38690.5889 |  | -10.73%
2009-08-01 | 12019.5118 | 26341.5 | 2684.4314 | 3133.5932 | 44179.0364 | 39319.3424
2009-09-01 | 5882.415 | 24165.5 | 3991.3454 | 1955.3311 | 35994.5915 | 32035.1865 | 110045.1177
2009-10-01 | 20251.7177 | 22074.5 | 2696.449 | 4072.9122 | 49095.5788 | 43695.0652
2009-11-01 | 15990.4762 | 17960.5 | 2669.4094 | 2491.0158 | 39111.4014 | 34809.1472
2009-12-01 | 21950.7663 | 16566.5 | 3023.9286 | 2298.7786 | 43839.9735 | 39017.5765 | 117521.7888
2010-01-01 | 26591.691 | 15011 | 2849.6734 | 1670.4253 | 46122.7896 | 41049.2828
2010-02-01 | 26355.7259 | 18538.5 | 2849.6734 | 2256.9025 | 50000.8019 | 44500.7136
2010-03-01 | 21084.6142 | 16804.5 | 3763.011 | 2046.9384 | 43699.0635 | 38892.1665 | 124442.163
2010-04-01 | 15361.2917 | 19448 | 2783.5766 | 2700.343 | 40293.2114 | 35860.9581
2010-05-01 | 12592.3788 | 16728 | 1602.8474 | 1759.0072 | 32682.2335 | 29087.1878
2010-06-01 | 9666.2116 | 24012.5 | 1401.5526 | 2787.2797 | 37867.5439 | 33702.1141 | 98650.26 | 450659.3295
2010-07-01 | 7897.0815 | 29319 | 1308.2538 | 3209.2941 | 41733.6294 | 37142.9302 |  | -3.228%
2010-08-01 | 7918.2454 | 30371.7 | 1026.7131 | 3146.8088 | 42463.4674 | 37792.4859
2010-09-01 | 7937.2466 | 27944.4 | 3024.1113 | 3515.5441 | 42421.302 | 37754.9588 | 112690.3749
2010-10-01 | 10555.5493 | 29211.7 | 2220.1095 | 2790.8897 | 44778.2485 | 39852.6412
2010-11-01 | 16066.5134 | 20180.868 | 2522.6607 | 2825.9926 | 41596.0348 | 37020.471
2010-12-01 | 20256.3539 | 17159.01 | 5366.0817 | 2264.5515 | 45045.9971 | 40090.9374 | 116964.0496
2011-01-01 | 25412.3201 | 13505.793 | 3479.3388 | 2003.8015 | 44401.2534 | 39517.1155
2011-02-01 | 22049.1088 | 16953.951 | 3325.2618 | 1971.8897 | 44300.2113 | 39427.1881
2011-03-01 | 19666.2355 | 8792.829 | 3921.96 | 1931.7941 | 34312.8186 | 30538.4086 | 109482.7122
2011-04-01 | 12362.2075 | 23913.255 | 3196.3974 | 1841.2059 | 41313.0658 | 36768.6286
2011-05-01 | 7305.5728 | 14586.594 | 2136.0675 | 1641.2941 | 25669.5284 | 22845.8803
2011-06-01 | 3588.5994 | 22168.296 | 1654.2267 | 1958.4559 | 29369.578 | 26138.9244 | 85753.4333 | 424890.57
|  |  | (numbers in red are estimates) |  |  | FY Total | 424890.57 | -5.718%
Note: | 1. The OC Expansion electric meter was not installed until mid December of 2003. Once several months of data is available from the new
meter, a September - December estimate will be made.
2. The OC Expansion project omitted the water meter installation from the main, south mechanical room.
A meter was installed August 14, 2004
Values in Red are Estimates

## HTHW Usage
Oakland Center
High Temperature Hot Water Consumption & Cost
89%
Billing | Measurement | Date of | Reading | Consumption | Unit Costs | Total Monthly | OC Partial
Month | Method | Meter Reading |  | MMBtu | $ / MMbtu | Cost | Cost
2003-06-01 | BTU Meter in Tunnel | 2003-07-01 | 6152
2003-07-01 | BTU Meter in Tunnel | 2003-08-01 | 6344 | 192 | 10.395 | 1995.84 | 1776.2976 |  | Recorded by Honeywell system. | the FY00 and FY01 actual numbers
2003-08-01 | BTU Meter in Tunnel | 2003-09-02 | 6665 | 321 | 10.395 | 3336.795 | 2969.7476 |  |  | for June.
2003-09-01 | BTU Meter in Tunnel | 2003-09-24 | 6905 | 240 | 10.395 | 2494.8 | 2220.372
2003-10-01 | BTU Meter in Tunnel | 2003-10-24 | 8016 | 1111 | 10.395 | 11548.845 | 10278.4721
2003-11-01 | BTU Meter in Tunnel | 2003-11-21 | 9380.2 | 1364.2 | 10.395 | 14180.859 | 12620.9645
2003-12-01 | BTU Meter in Tunnel | 2003-12-29 | 11378.4 | 1998.2 | 10.395 | 20771.289 | 18486.4472
2004-01-01 | BTU Meter in Tunnel | 2004-01-29 | 13484.86 | 2106.46 | 10.395 | 21896.6517 | 19488.02
2004-02-01 | BTU Meter in Tunnel | 2004-02-25 | 15366.57 | 1881.71 | 10.395 | 19560.3754 | 17408.7342
2004-03-01 | BTU Meter in Tunnel | 2004-03-23 | 16910.3 | 1543.73 | 10.395 | 16047.0733 | 14281.8953
2004-04-01 | BTU Meter in Tunnel | 2004-04-27 | 18312.2 | 1401.9 | 10.395 | 14572.7505 | 12969.7479
2004-05-01 | BTU Meter in Tunnel | 2004-05-26 | 19114.7 | 802.5 | 10.395 | 8341.9875 | 7424.3689
2004-06-01 | BTU Meter in Tunnel | 2004-06-23 | 19854.5 | 739.8 | 10.395 | 7690.221 | 6844.2967
2004-07-21 | BTU Meter in Tunnel | 2004-07-27 | 20730 | 875.5 | 11.1891 | 9796.0242 | 8718.4616
2004-08-01 | BTU Meter in Tunnel | 2004-08-30 | 21626.5 | 896.5 | 11.1891 | 10030.9945 | 8927.5851
2004-09-01 | BTU Meter in Tunnel | 2004-09-27 | 22293.8 | 667.3 | 11.1891 | 7466.4614 | 6645.1507
2004-10-01 | BTU Meter in Tunnel | 2004-10-28 | 23247.2 | 953.4 | 11.1891 | 10667.6522 | 9494.2104
2004-11-01 | BTU Meter in Tunnel | 2004-11-29 | 24565.3 | 1318.1 | 11.1891 | 14748.3033 | 13125.9899
2004-12-01 | BTU Meter in Tunnel | 2005-01-03 | 26710.7 | 2145.4 | 11.1891 | 24005.0147 | 21364.4631
2005-01-01 | BTU Meter in Tunnel | 2005-01-31 | 28783.6 | 2072.9 | 11.1891 | 23193.8077 | 20642.4888
2005-02-01 | BTU Meter in Tunnel | 2005-02-28 | 30510.4 | 1726.8 | 11.1891 | 19321.2731 | 17195.9331
2005-03-01 | BTU Meter in Tunnel | 2005-03-22 | 31852.9 | 1342.5 | 11.1891 | 15021.3164 | 13368.9716
2005-04-01 | BTU Meter in Tunnel | 2005-04-26 | 33183.2 | 1330.3 | 11.1891 | 14884.8098 | 13247.4808
2005-05-01 | BTU Meter in Tunnel | 2005-05-26 | 34194.5 | 1011.3 | 11.1891 | 11315.4989 | 10070.794
2005-06-01 | BTU Meter in Tunnel | 2005-06-27 | 34910 | 715.5 | 11.1891 | 8005.7742 | 7125.1391
2005-07-01 | BTU Meter in Tunnel | 2005-07-28 | 35685.3 | 775.3 | 11.9182 | 9240.1465 | 8223.7304 |  | Recorded by Honeywell system. | the FY00 and FY01 actual numbers
2005-08-01 | BTU Meter in Tunnel | 2005-08-29 | 36589.4 | 904.1 | 11.9182 | 10775.2051 | 9589.9325 |  |  | for June.
2005-09-01 | BTU Meter in Tunnel | 2005-09-28 | 37491.72 | 902.32 | 11.9182 | 10753.9907 | 9571.0518
2005-10-01 | BTU Meter in Tunnel | 2005-10-27 | 38222.4 | 730.68 | 11.9182 | 8708.3584 | 7750.439
2005-11-01 | BTU Meter in Tunnel | 2005-11-23 | 39085.2 | 862.8 | 11.9182 | 10282.9852 | 9151.8568
2005-12-01 | BTU Meter in Tunnel | 2005-12-15 | 40189 | 1103.8 | 11.9182 | 13155.2609 | 11708.1822
2006-01-01 | BTU Meter in Tunnel | 2006-01-19 | 41888.3 | 1699.3 | 11.9182 | 20252.5229 | 18024.7454
2006-02-01 | BTU Meter in Tunnel | 2006-02-16 | 43263.9 | 1375.6 | 11.9182 | 16394.6157 | 14591.208
2006-03-01 | BTU Meter in Tunnel | 2006-03-15 | 44733.7 | 1469.8 | 11.9182 | 17517.3061 | 15590.4024
2006-04-01 | BTU Meter in Tunnel | 2006-04-17 | 46083.1 | 1349.4 | 11.9182 | 16082.36 | 14313.3004
2006-05-01 | BTU Meter in Tunnel | 2006-05-19 | 46981.4 | 898.3 | 11.9182 | 10706.0798 | 9528.411
2006-06-01 | BTU Meter in Tunnel | 2006-06-14 | 47728.6 | 747.2 | 11.9182 | 8905.2463 | 7925.6693
2006-07-01 | BTU Meter in Tunnel | 2006-07-17 | 48504.01 | 775.41 | 16.2783 | 12622.3421 | 11233.8844 |  |  | the FY00 and FY01 actual numbers
2006-08-01 | BTU Meter in Tunnel | 2006-08-15 | 49201.47 | 697.46 | 16.2783 | 11353.45 | 10104.5705 |  |  | for June.
2006-09-01 | BTU Meter in Tunnel | 2006-09-15 | 49945.44 | 743.97 | 16.2783 | 12110.5529 | 10778.3921
2006-10-01 | BTU Meter in Tunnel | 2006-10-15 | 50536.81 | 591.37 | 16.2783 | 9626.4872 | 8567.5736
2006-11-01 | BTU Meter in Tunnel | 2006-11-15 | 51654.21 | 1117.4 | 16.2783 | 18189.3515 | 16188.5228
2006-12-01 | BTU Meter in Tunnel | 2006-12-15 | 53204.67 | 1550.46 | 16.2783 | 25238.8239 | 22462.5533
2007-01-01 | BTU Meter in Tunnel | 2007-01-15 | 54562.8 | 1358.13 | 16.2783 | 22108.0221 | 19676.1397
2007-02-01 | BTU Meter in Tunnel | 2007-02-15 | 56703.65 | 2140.85 | 16.2783 | 34849.3584 | 31015.929
2007-03-01 | BTU Meter in Tunnel | 2007-03-15 | 58286.69 | 1583.04 | 16.2783 | 25769.1704 | 22934.5616
2007-04-01 | BTU Meter in Tunnel | 2007-04-16 | 59750.56 | 1463.87 | 16.2783 | 23829.2876 | 21208.0659
2007-05-01 | BTU Meter in Tunnel | 2007-05-17 | 60669.94 | 919.38 | 16.2783 | 14965.9262 | 13319.6743
2007-06-01 | BTU Meter in Tunnel | 2007-06-13 | 61412.47 | 742.53 | 16.2783 | 12087.1122 | 10757.5298 | 198247.3972
2007-07-01 | BTU Meter in Tunnel | 2007-07-17 | 62390.3 | 977.83 | 18.2995 | 17893.8306 | 15925.5093 |  |  | the FY00 and FY01 actual numbers
2007-08-01 | BTU Meter in Tunnel | 2007-08-15 | 63205.12 | 814.82 | 18.2995 | 14910.8241 | 13270.6334 |  |  | for June.
2007-09-01 | BTU Meter in Tunnel | 2007-09-19 | 64167.16 | 962.04 | 18.2995 | 17604.881 | 15668.3441
2007-10-01 | BTU Meter in Tunnel | 2007-10-15 | 64876.38 | 709.22 | 18.2995 | 12978.3936 | 11550.7703
2007-11-01 | BTU Meter in Tunnel | 2007-11-19 | 66050.51 | 1174.13 | 18.2995 | 21486.0286 | 19122.5655
2007-12-01 | BTU Meter in Tunnel | 2007-12-14 | 67239.33 | 1188.82 | 18.2995 | 21754.8487 | 19361.8154
2008-01-01 | BTU Meter in Tunnel | 2008-01-14 | 68635.39 | 1396.06 | 18.2995 | 25547.2436 | 22737.0468
2008-02-01 | BTU Meter in Tunnel | 2008-02-14 | 70333.2 | 1697.81 | 18.2995 | 31069.1272 | 27651.5232
2008-03-01 | BTU Meter in Tunnel | 2008-03-18 | 71883.24 | 1550.04 | 18.2995 | 28365.0054 | 25244.8548
2008-04-01 | BTU Meter in Tunnel | 2008-04-15 | 72946.8 | 1063.56 | 18.2995 | 19462.6495 | 17321.758
2008-05-01 | BTU Meter in Tunnel | 2008-05-15 | 73661.49 | 714.69 | 18.2995 | 13078.492 | 11639.8579
2008-06-01 | BTU Meter in Tunnel | 2008-06-16 | 74374.35 | 712.86 | 18.2995 | 13045.0038 | 11610.0534 | 211104.732
2008-07-01 | BTU Meter in Tunnel | 2008-07-16 | 74997.92 | 623.57 | 17.5772 | 10960.6146 | 9754.947 |  |  | the FY00 and FY01 actual numbers
2008-08-01 | BTU Meter in Tunnel | 2008-08-18 | 75623.38 | 625.46 | 17.5772 | 10993.8355 | 9784.5136 |  |  | for June.
2008-09-01 | BTU Meter in Tunnel | 2008-09-15 | 76241.25 | 617.87 | 17.5772 | 10860.4246 | 9665.7779
2008-10-01 | BTU Meter in Tunnel | 2008-10-15 | 77065.73 | 824.48 | 17.5772 | 14492.0499 | 12897.9244
2008-11-01 | BTU Meter in Tunnel | 2008-11-18 | 78218.15 | 1152.42 | 17.5772 | 20256.3168 | 18028.122
2008-12-01 | BTU Meter in Tunnel | 2008-12-15 | 79504.19 | 1286.04 | 17.5772 | 22604.9823 | 20118.4342
2009-01-01 | BTU Meter in Tunnel | 2009-01-16 | 81255.55 | 1751.36 | 17.5772 | 30784.005 | 27397.7644
2009-02-01 | BTU Meter in Tunnel | 2009-02-17 | 83006.56 | 1751.01 | 17.5772 | 30777.853 | 27392.2891
2009-03-01 | BTU Meter in Tunnel | 2009-03-17 | 84437.35 | 1430.79 | 17.5772 | 25149.282 | 22382.861
2009-04-01 | BTU Meter in Tunnel | 2009-04-20 | 85621.85 | 1184.5 | 17.5772 | 20820.1934 | 18529.9721
2009-05-01 | BTU Meter in Tunnel | 2009-05-15 | 86252.98 | 631.13 | 17.5772 | 11093.4982 | 9873.2134
2009-06-01 | BTU Meter in Tunnel | 2009-06-15 | 86939.62 | 686.64 | 17.5772 | 12069.2086 | 10741.5957 | 196567.4148
2009-07-01 | BTU Meter in Tunnel | 2009-07-17 | 87663.4 | 723.78 | 16.7114 | 12095.3816 | 10764.8896 |  |  | the FY00 and FY01 actual numbers
2009-08-01 | BTU Meter in Tunnel | 2009-08-17 | 88382.64 | 719.24 | 16.7114 | 12019.5118 | 10697.3655 |  |  | for June.
2009-09-01 | BTU Meter in Tunnel | 2009-09-15 | 88734.64 | 352 | 16.7114 | 5882.415 | 5235.3494
2009-10-01 | BTU Meter in Tunnel | 2009-10-16 | 89946.49 | 1211.85 | 16.7114 | 20251.7177 | 18024.0287
2009-11-01 | BTU Meter in Tunnel | 2009-11-16 | 90903.35 | 956.86 | 16.7114 | 15990.4762 | 14231.5238
2009-12-01 | BTU Meter in Tunnel | 2009-12-15 | 92216.87 | 1313.52 | 16.7114 | 21950.7663 | 19536.182
2010-01-01 | BTU Meter in Tunnel | 2010-01-15 | 93808.1 | 1591.23 | 16.7114 | 26591.691 | 23666.605
2010-02-01 | BTU Meter in Tunnel | 2010-02-15 | 95385.21 | 1577.11 | 16.7114 | 26355.7259 | 23456.5961
2010-03-01 | BTU Meter in Tunnel | 2010-03-15 | 96646.9 | 1261.69 | 16.7114 | 21084.6142 | 18765.3066
2010-04-01 | BTU Meter in Tunnel | 2010-04-16 | 97566.11 | 919.21 | 16.7114 | 15361.2917 | 13671.5496
2010-05-01 | BTU Meter in Tunnel | 2010-05-14 | 98319.63 | 753.52 | 16.7114 | 12592.3788 | 11207.2172
2010-06-01 | BTU Meter in Tunnel | 2010-06-14 | 98898.05 | 578.42 | 16.7114 | 9666.2116 | 8602.9283 | 177859.5418
2010-07-01 | BTU Meter in Tunnel | 2010-07-16 | 99409.25 | 511.2 | 15.4481 | 7897.0815 | 7028.4025
2010-08-01 | BTU Meter in Tunnel | 2010-08-16 | 99921.82 | 512.57 | 15.4481 | 7918.2454 | 7047.2384
2010-09-01 | BTU Meter in Tunnel | 2010-09-17 | 100435.62 | 513.8 | 15.4481 | 7937.2466 | 7064.1495
2010-10-01 | BTU Meter in Tunnel | 2010-10-15 | 101118.91 | 683.29 | 15.4481 | 10555.5493 | 9394.4389
2010-11-01 | BTU Meter in Tunnel | 2010-11-15 | 102158.94 | 1040.03 | 15.4481 | 16066.5134 | 14299.197
2010-12-01 | BTU Meter in Tunnel | 2010-12-14 | 103470.19 | 1311.25 | 15.4481 | 20256.3539 | 18028.155
2011-01-01 | BTU Meter in Tunnel | 2011-01-17 | 105115.2 | 1645.01 | 15.4481 | 25412.3201 | 22616.9649
2011-02-01 | BTU Meter in Tunnel | 2011-02-14 | 106542.5 | 1427.3 | 15.4481 | 22049.1088 | 19623.7068
2011-03-01 | BTU Meter in Tunnel | 2011-03-18 | 107815.55 | 1273.05 | 15.4481 | 19666.2355 | 17502.9496
2011-04-01 | BTU Meter in Tunnel | 2011-04-15 | 108615.79 | 800.24 | 15.4481 | 12362.2075 | 11002.3647
2011-05-01 | BTU Meter in Tunnel | 2011-05-16 | 109088.7 | 472.91 | 15.4481 | 7305.5728 | 6501.9598
2011-06-01 | BTU Meter in Tunnel | 2011-06-17 | 109321 | 232.3 | 15.4481 | 3588.5994 | 3193.8535
Numbers in Red are Estimates

## Electric
Oakland Center
Electricity Consumption & Cost
|  | North Meter |  |  | Old South Meter |  |  | New South Meter (Expansion) | [6 empty] | 89%
Billing | Date of | Reading | Usage | Demand | Reading | Usage | Demand | Reading | Usage | Demand | TOTAL | TOTAL | Unit Cost | Total Monthly | OC Partial
Month | Meter Reading | (kWhr) | (kWhr) | kW | (kWhr) | (kWhr) | kW | (kWhr) | (kWhr) | kW | kWhr | kW | $ / kWhr | Cost | Cost
2003-06-01 | 2003-07-01 | 463120 |  |  | 778050
2003-07-01 | 2003-08-01 | 499410 | 36290 | 96 | 831220 | 53170 | 152 |  | 0 |  | 89460 | 248 | 0.076 | 6798.96 | 6051.0744
2003-08-01 | 2003-09-02 | 550380 | 50970 | 106 | 899710 | 68490 | 200 |  | 0 |  | 119460 | 306 | 0.076 | 9078.96 | 8080.2744
2003-09-01 | 2003-09-24 | 591400 | 41020 | 122 | 976300 | 76590 | 273 |  | 0 |  | 117610 | 395 | 0.076 | 8938.36 | 7955.1404
2003-10-01 | 2003-10-24 | 6476 | 56200 | 120 | 10718 | 95500 | 284 |  | 50000 |  | 201700 | 404 | 0.076 | 15329.2 | 13642.988
2003-11-01 | 2003-11-21 | 6994 | 51800 | 120 | 11589 | 87100 | 217 |  | 50000 |  | 188900 | 337 | 0.076 | 14356.4 | 12777.196
2003-12-01 | 2004-12-29 | 7599 | 60500 | 118.9 | 12622 | 103300 | 212.9 |  | 50000 |  | 213800 | 331.8 | 0.076 | 16248.8 | 14461.432
2004-01-01 | 2004-01-29 | 8140 | 54100 | 114 | 13586 | 96400 | 214.5 |  | 50000 |  | 200500 | 328.5 | 0.076 | 15238 | 13561.82
2004-02-01 | 2004-02-25 | 8610 | 47000 | 112.6 | 14459 | 87300 | 202.9 |  | 50000 |  | 184300 | 315.5 | 0.076 | 14006.8 | 12466.052
2004-03-01 | 2004-03-23 | 9083 | 47300 | 113.9 | 15308 | 84900 | 198 |  | 50000 |  | 182200 | 311.9 | 0.076 | 13847.2 | 12324.008
2004-04-01 | 2004-04-27 | 9728 | 64500 | 117 | 16464 | 115600 | 283.2 | 107 | 50000 | 70.5 | 230100 | 470.7 | 0.076 | 17487.6 | 15563.964
2004-05-01 | 2004-05-26 | 10243 | 51500 | 113.9 | 17444 | 98000 | 255.3 | 258 | 15100 | 71 | 164600 | 440.2 | 0.076 | 12509.6 | 11133.544
2004-06-01 | 2004-06-23 | 10727 | 48400 | 115 | 18455 | 101100 | 241.4 | 438 | 18000 | 72.9 | 167500 | 429.3 | 0.076 | 12730 | 11329.7
2004-07-21 | 2004-07-27 | 11282 | 55500 | 113 | 19725 | 127000 | 242.2 | 3374 | 293600 | 406.5 | 476100 | 761.7 | 0.083 | 39516.3 | 35169.507
2004-08-01 | 2004-08-30 | 11852 | 57000 | 116 | 20981 | 125600 | 260.1 | 4641 | 126700 | 351.9 | 309300 | 728 | 0.083 | 25671.9 | 22847.991
2004-09-01 | 2004-09-27 | 12361 | 50900 | 118.1 | 22163 | 118200 | 301.9 | 5683 | 104200 | 353.6 | 273300 | 773.6 | 0.083 | 22683.9 | 20188.671
2004-10-01 | 2004-10-28 | 12919 | 55800 | 118.3 | 23303 | 114000 | 298.4 | 6472 | 78900 | 355 | 248700 | 771.7 | 0.083 | 20642.1 | 18371.469
2004-11-01 | 2004-11-29 | 13472 | 55300 | 112.6 | 24312 | 100900 | 273.5 | 7130 | 65800 | 313.4 | 222000 | 699.5 | 0.083 | 18426 | 16399.14
2004-12-01 | 2005-01-03 | 14051 | 57900 | 111.8 | 25264 | 95200 | 208.7 | 7714 | 58400 | 160 | 211500 | 480.5 | 0.083 | 18717.75 | 16658.7975
2005-01-01 | 2005-01-31 | 14566 | 51500 | 103.7 | 26130 | 86600 | 189.1 | 8249 | 53500 | 103 | 191600 | 395.8 | 0.083 | 15902.8 | 14153.492
2005-02-01 | 2005-02-28 | 15058 | 49200 | 112.2 | 26973 | 84300 | 207.3 | 8790 | 54100 | 149 | 187600 | 468.5 | 0.083 | 15570.8 | 13858.012
2005-03-01 | 2005-03-22 | 15432 | 37400 | 107.9 | 27597 | 62400 | 198.6 | 9194 | 40400 | 134.6 | 140200 | 441.1 | 0.083 | 11636.6 | 10356.574
2005-04-01 | 2005-04-26 | 16054 | 62200 | 109.1 | 28745 | 114800 | 274 | 10035 | 84100 | 349.6 | 261100 | 732.7 | 0.083 | 21671.3 | 19287.457
2005-05-01 | 2005-05-26 | 16579 | 52500 | 114.3 | 29631 | 88600 | 241.1 | 10758 | 72300 | 329.7 | 213400 | 685.1 | 0.083 | 17712.2 | 15763.858
2005-06-01 | 2005-06-27 | 17164 | 58500 | 140.1 | 30639 | 100800 | 241.9 | 11609 | 85100 | 333.3 | 244400 | 715.3 | 0.083 | 20285.2 | 18053.828
2005-07-01 | 2005-07-28 | 17757 | 59300 | 139 | 31674 | 103500 | 239 | 12597 | 98800 | 346 | 261600 | 724 | 0.085 | 22236 | 19790.04
2005-08-01 | 2005-08-29 | 18357 | 60000 | 147 | 32889 | 121500 | 268.6 | 14093 | 149600 | 347 | 331100 | 762.6 | 0.085 | 28143.5 | 25047.715
2005-09-01 | 2005-09-28 | 18970 | 61300 | 148.8 | 34216 | 132700 | 295.5 | 15408 | 131500 | 341.4 | 325500 | 785.7 | 0.085 | 27667.5 | 24624.075
2005-10-01 | 2005-10-27 | 19536 | 56600 | 149 | 35204 | 98800 | 288 | 16184 | 77600 | 332.2 | 233000 | 769.2 | 0.085 | 19805 | 17626.45
2005-11-01 | 2005-11-23 | 20055 | 51900 | 147.8 | 36034 | 83000 | 276.2 | 16752 | 56800 | 296.4 | 191700 | 720.4 | 0.085 | 16294.5 | 14502.105
2005-12-01 | 2005-12-15 | 20456 | 40100 | 149.5 | 36664 | 63000 | 207.7 | 17144 | 39200 | 144.3 | 142300 | 501.5 | 0.085 | 12095.5 | 10764.995
2006-01-01 | 2006-01-19 | 21079 | 62300 | 147.8 | 37533 | 86900 | 207.5 | 17711 | 56700 | 153.8 | 205900 | 509.1 | 0.085 | 17501.5 | 15576.335
2006-02-01 | 2006-02-16 | 21643 | 56400 | 152.1 | 38348 | 81500 | 210 | 18288 | 57700 | 149.2 | 195600 | 511.3 | 0.085 | 16626 | 14797.14
2006-03-01 | 2006-03-15 | 22175 | 53200 | 143.6 | 39108 | 76000 | 189.2 | 18831 | 54300 | 140.8 | 183500 | 473.6 | 0.085 | 15597.5 | 13881.775
2006-04-01 | 2006-04-17 | 22841 | 66600 | 148.7 | 40153 | 104500 | 193.9 | 19537 | 70600 | 155.3 | 241700 | 497.9 | 0.085 | 20544.5 | 18284.605
2006-05-01 | 2006-05-19 | 23488 | 64700 | 144.5 | 41147 | 99400 | 245.9 | 20260 | 72300 | 326.4 | 236400 | 716.8 | 0.085 | 20094 | 17883.66
2006-06-01 | 2006-06-14 | 23971 | 48300 | 141 | 42124 | 97700 | 236.4 | 21164 | 90400 | 341.8 | 236400 | 719.2 | 0.085 | 20094 | 17883.66
2006-07-01 | 2006-07-17 | 24585 | 61400 |  | 43412 | 128800 |  | 22492 | 132800 |  | 323000 |  | 0.087 | 28101 | 25009.89
2006-08-01 | 2006-08-15 | 25154 | 56900 |  | 44684 | 127200 |  | 23913 | 142100 |  | 326200 |  | 0.087 | 28379.4 | 25257.666
2006-09-01 | 2006-09-15 | 25777 | 62300 |  | 45991 | 130700 |  | 25281 | 136800 |  | 329800 |  | 0.087 | 28692.6 | 25536.414
2006-10-01 | 2006-10-15 | 26295 | 51800 | 146.5 | 46915 | 92400 | 271.1 | 25988 | 70700 | 301 | 214900 | 718.6 | 0.087 | 18696.3 | 16639.707
2006-11-01 | 2006-11-15 | 26935 | 64000 | 146.2 | 47901 | 98600 | 201 | 26576 | 58800 | 301 | 221400 | 648.2 | 0.087 | 19261.8 | 17143.002
2006-12-01 | 2006-12-15 | 27582 | 64700 | 146.2 | 48902 | 100100 | 200.7 | 27276 | 70000 | 153.6 | 234800 | 500.5 | 0.087 | 20427.6 | 18180.564
2007-01-01 | 2007-01-15 | 28029 | 44700 | 142.3 | 49603 | 70100 | 207.6 | 27751 | 47500 | 149.4 | 162300 | 499.3 | 0.087 | 14120.1 | 12566.889
2007-02-01 | 2007-02-15 | 28651 | 62200 | 142.9 | 50593 | 99000 | 213.5 | 28403 | 65200 | 150.4 | 226400 | 506.8 | 0.087 | 19696.8 | 17530.152
2007-03-01 | 2007-03-15 | 29214 | 56300 | 142.7 | 51428 | 83500 | 201.5 | 28974 | 57100 | 143 | 196900 | 487.2 | 0.087 | 17130.3 | 15245.967
2007-04-01 | 2007-04-16 | 29854 | 64000 | 147 | 52400 | 97200 | 197.4 | 29707 | 73300 | 118.1 | 234500 | 462.5 | 0.087 | 20401.5 | 18157.335
2007-05-01 | 2007-05-17 | 30370 | 51600 | 140 | 53366 | 96600 | 241.9 | 30528 | 82100 | 93.1 | 230300 | 475 | 0.087 | 20036.1 | 17832.129
2007-06-01 | 2007-06-13 | 30732 | 36200 | 112.6 | 54696 | 133000 | 515.4 | OFF |  |  | 169200 | 628 | 0.087 | 14720.4 | 13101.156 | 222200.871
2007-07-01 | 2007-07-17 | 31343 | 61100 | 160.5 | 57722 | 302600 | 597.2 | OFF |  |  | 363700 | 757.7 | 0.09 | 32733 | 29132.37
2007-08-01 | 2007-08-15 | 31918 | 57500 | 149 | 60474 | 275200 | 574.1 | OFF |  |  | 332700 | 723.1 | 0.09 | 29943 | 26649.27
2007-09-01 | 2007-09-19 | 32634 | 71600 | 159.9 | 63607 | 313300 | 680.8 | OFF |  |  | 384900 | 840.7 | 0.09 | 34641 | 30830.49
2007-10-01 | 2007-10-15 | 33146 | 51200 | 146.3 | 65830 | 222300 | 687.2 | OFF |  |  | 273500 | 833.5 | 0.09 | 24615 | 21907.35
2007-11-01 | 2007-11-19 | 33844 | 69800 | 144.8 | 67977 | 214700 | 602.9 | OFF |  |  | 284500 | 747.7 | 0.09 | 25605 | 22788.45
2007-12-01 | 2007-12-14 | 34336 | 49200 | 146.3 | 69246 | 126900 | 375.9 | OFF |  |  | 176100 | 522.2 | 0.09 | 15849 | 14105.61
2008-01-01 | 2008-01-14 | 34850 | 51400 | 139.5 | 70457 | 121100 | 325.5 | OFF |  |  | 172500 | 465 | 0.09 | 15525 | 13817.25
2008-02-01 | 2008-02-14 | 35454 | 60400 | 140 | 72080 | 162300 | 335.5 | OFF |  |  | 222700 | 475.5 | 0.09 | 20043 | 17838.27
2008-03-01 | 2008-02-17 | 36066 | 61200 | 145.2 | 73713 | 163300 | 335.4 | OFF |  |  | 224500 | 480.6 | 0.09 | 20205 | 17982.45
2008-04-01 | 2008-04-15 | 36613 | 54700 |  | 75197 | 148400 |  | OFF |  |  | 234500 |  | 0.09 | 21105 | 18783.45
2008-05-01 | 2008-05-15 | 37157 | 54400 |  | 76846 | 164900 |  | OFF |  |  | 230300 |  | 0.09 | 20727 | 18447.03
2008-06-01 | 2008-06-16 | 37692 | 53500 | 144.7 | 79119 | 227300 | 589.1 | OFF |  |  | 280800 | 733.8 | 0.09 | 25272 | 22492.08 | 254774.07
2008-07-01 | 2008-07-16 | 38198 | 50600 | 133.1 | 81548 | 242900 | 583.3 | OFF |  |  | 293500 | 716.4 | 0.0835 | 24507.25 | 21811.4525
2008-08-01 | 2008-08-18 | 38722 | 52400 | 145.4 | 84111 | 256300 | 587.3 | OFF |  |  | 308700 | 732.7 | 0.0835 | 25776.45 | 22941.0405
2008-09-01 | 2008-09-15 | 39323 | 60100 | 160 | 86527 | 241600 | 626.3 | OFF |  |  | 301700 | 786.3 | 0.0835 | 25191.95 | 22420.8355
2008-10-01 | 2008-10-15 | 39903 | 58000 | 138 | 88707 | 218000 | 615 | OFF |  |  | 276000 | 753 | 0.0835 | 23046 | 20510.94
2008-11-01 | 2008-11-18 | 40526 | 62300 | 153 | 90310.5 | 160350 | 610 | OFF |  |  | 222650 | 763 | 0.0835 | 18591.275 | 16546.2347
2008-12-01 | 2008-12-15 | 40999 | 47300 | 140 | 91914 | 160350 | 609.4 | OFF |  |  | 207650 | 749.4 | 0.0835 | 17338.775 | 15431.5097
2009-01-01 | 2009-01-16 | 41522 | 52300 | 138.3 | 93261 | 134700 | 600 | OFF |  |  | 187000 | 738.3 | 0.0835 | 15614.5 | 13896.905
2009-02-01 | 2009-02-17 | 42119 | 59700 | 146.3 | 94608 | 134700 | 337.1 | OFF |  |  | 194400 | 483.4 | 0.0835 | 16232.4 | 14446.836
2009-03-01 | 2009-03-17 | 42628 | 50900 | 144.4 | 96157.5 | 154950 | 350 | OFF |  |  | 205850 | 494.4 | 0.0835 | 17188.475 | 15297.7427
2009-04-01 | 2009-04-20 | 43283 | 65500 | 149.8 | 97707 | 154950 | 326.6 | OFF |  |  | 220450 | 476.4 | 0.0835 | 18407.575 | 16382.7417
2009-05-01 | 2009-05-15 | 43737 | 45400 | 145.7 | 99189 | 148200 | 556 | OFF |  |  | 193600 | 701.7 | 0.0835 | 16165.6 | 14387.384
2009-06-01 | 2009-06-15 | 44246 | 50900 | 140.6 | 101146 | 195700 | 572 | OFF |  |  | 246600 | 712.6 | 0.0835 | 20591.1 | 18326.079 | 212399.7015
2009-07-01 | 2009-07-17 | 44792 | 54600 | 133 | 103757 | 261100 | 586.8 | OFF |  |  | 315700 | 719.8 | 0.085 | 26834.5 | 23882.705
2009-08-01 | 2009-08-17 | 45304 | 51200 | 132 | 106344 | 258700 | 601.9 | OFF |  |  | 309900 | 733.9 | 0.085 | 26341.5 | 23443.935
2009-09-01 | 2009-09-15 | 45818 | 51400 | 139 | 108673 | 232900 | 624.2 | OFF |  |  | 284300 | 763.2 | 0.085 | 24165.5 | 21507.295
2009-10-01 | 2009-10-16 | 46409 | 59100 | 152 | 110679 | 200600 | 661 | OFF |  |  | 259700 | 813 | 0.085 | 22074.5 | 19646.305
2009-11-01 | 2009-11-16 | 46963 | 55400 | 148 | 112238 | 155900 | 625 | OFF |  |  | 211300 | 773 | 0.085 | 17960.5 | 15984.845
2009-12-01 | 2009-12-15 | 47445 | 48200 | 137 | 113705 | 146700 | 349 | OFF |  |  | 194900 | 486 | 0.085 | 16566.5 | 14744.185
2010-01-01 | 2010-01-15 | 47899 | 45400 | 130.8 | 115017 | 131200 | 327.9 | OFF |  |  | 176600 | 458.7 | 0.085 | 15011 | 13359.79
2010-02-01 | 2010-02-15 | 48450 | 55100 | 139.6 | 116647 | 163000 | 331.4 | OFF |  |  | 218100 | 471 | 0.085 | 18538.5 | 16499.265
2010-03-01 | 2010-03-15 | 48956 | 50600 | 144.4 | 118118 | 147100 | 343.2 | OFF |  |  | 197700 | 487.6 | 0.085 | 16804.5 | 14956.005
2010-04-01 | 2010-04-16 | 49529 | 57300 | 159.9 | 119833 | 171500 | 324.5 | OFF |  |  | 228800 | 484.4 | 0.085 | 19448 | 17308.72
2010-05-01 | 2010-05-14 | 50090 | 56100 | 154.5 | 121240 | 140700 | 281.8 | OFF |  |  | 196800 | 436.3 | 0.085 | 16728 | 14887.92
2010-06-01 | 2010-06-14 | 50626 | 53600 | 156.3 | 123529 | 228900 | 531.2 | OFF |  |  | 282500 | 687.5 | 0.085 | 24012.5 | 21371.125 | 217592.095
2010-07-01 | 2010-07-16 | 51179 | 55300 | 105.7 | 126346 | 281700 | 513.2 | OFF |  |  | 337000 | 618.9 | 0.087 | 29319 | 26093.91
2010-08-01 | 2010-08-16 | 51700 | 52100 | 136.7 | 129316 | 297000 | 507.8 | OFF |  |  | 349100 | 644.5 | 0.087 | 30371.7 | 27030.813
2010-09-01 | 2010-09-17 | 52270 | 57000 | 164.4 | 131958 | 264200 | 286.4 | OFF |  |  | 321200 | 450.8 | 0.087 | 27944.4 | 24870.516
2010-10-01 | 2010-10-15 | 11234 | 54800 | 141.1 | 29626 | 280966.6667 | 567 | OFF |  |  | 335766.6667 | 708.1 | 0.087 | 29211.7 | 25998.413
2010-11-01 | 2010-11-15 | 65374 | 54140 | 156.9 | 207450 | 177824 | 613.8 | OFF |  |  | 231964 | 770.7 | 0.087 | 20180.868 | 17960.9725
2010-12-01 | 2010-12-14 | 114772 | 49398 | 146.9 | 355282 | 147832 | 352.5 | OFF |  |  | 197230 | 499.4 | 0.087 | 17159.01 | 15271.5189
2011-01-01 | 2011-01-17 | 168711 | 53939 | 146.6 | 456582 | 101300 | 354.6 | 0 |  |  | 155239 | 501.2 | 0.087 | 13505.793 | 12020.1558
2011-02-01 | 2011-02-14 | 219676 | 50965 | 153.5 | 600490 | 143908 | 353.6 | 0 | 0 |  | 194873 | 507.1 | 0.087 | 16953.951 | 15089.0164
2011-03-01 | 2011-03-18 | 273345 | 53669 | 151 | 637290 | 36800 | 339 | 10598 | 10598 |  | 101067 | 490 | 0.087 | 8792.829 | 7825.6178
2011-04-01 | 2011-04-15 | 322309 | 48964 | 143.7 | 638336 | 1046 | 2.5 | 235453 | 224855 | 317.7 | 274865 | 463.9 | 0.087 | 23913.255 | 21282.7969
2011-05-01 | 2011-05-16 | 369400 | 47091 | 160.6 | 639394 | 1058 | 2 | 354966 | 119513 | 481.4 | 167662 | 644 | 0.087 | 14586.594 | 12982.0687
2011-06-01 | 2011-06-17 | 414680 | 45280 | 150 | 640453 | 1059 | 2 | 563435 | 208469 | 548 | 254808 | 700 | 0.087 | 22168.296 | 19729.7834
Numbers in Red are Estimates
Note 2: OC Expansion electric meter was installed in late 2003 but has not yet been made functional by project electrician
| Numbers in Red are Estimates |  |  |  | Meter Not Read Due to Consruction, Nov 08 Jan 09 and Mar 09

## Nat Gas Usage
Oakland Center
Natural Gas Consumption & Cost
|  |  | 1.45 | =correction factor, 15psig to standard conditions |  |  | 89%
Billing | Date of | Meter Reading | Consumption | Consumption | Unit Costs | Total Monthly | OC Partial
Month | Meter Reading | cu. Ft. x 100 | cubic feet | MCF | $ / MCF | Cost | Cost
2003-06-01 | 2003-07-03 | 5647
2003-07-01 | 2003-08-01 | 5735.4 | 12818 | 12.818 | 6.1262 | 78.5258 | 47.1155
2003-08-01 | 2003-09-02 | 5837 | 14732 | 14.732 | 6.1262 | 90.2514 | 54.1508
2003-09-01 | 2003-09-24 | 6698 | 124845 | 124.845 | 6.1262 | 764.8271 | 458.8963
2003-10-01 | 2003-10-24 | 8215 | 219965 | 219.965 | 6.1262 | 1347.5526 | 1199.3218
2003-11-01 | 2003-11-21 | 9581 | 198070 | 198.07 | 6.1262 | 1213.4191 | 1079.943
2003-12-01 |  | 11000 | 205755 | 205.755 | 6.1262 | 1260.4991 | 1121.8442
2004-01-01 | 2004-01-29 | 12707 | 247515 | 247.515 | 6.1262 | 1516.3298 | 1349.5335
2004-02-01 | 2004-02-25 | 14159 | 210540 | 210.54 | 6.1262 | 1289.813 | 1147.9336
2004-03-01 | 2004-03-23 | 15515 | 196620 | 196.62 | 6.1262 | 1204.5361 | 1072.0371
2004-04-01 | 2004-04-27 | 17062 | 224315 | 224.315 | 6.1262 | 1374.2016 | 1223.0394
2004-05-01 | 2004-05-26 | 17941 | 127455 | 127.455 | 6.1262 | 780.8166 | 694.9267
2004-06-01 | 2004-06-23 | 18869 | 134560 | 134.56 | 6.1262 | 824.3433 | 733.6655
2004-07-21 | 2004-07-27 | 19776 | 131515 | 131.515 | 6.5049 | 855.4859 | 761.3825
2004-08-01 | 2004-08-30 | 20651 | 126875 | 126.875 | 6.5049 | 825.3034 | 734.52
2004-09-01 | 2004-09-27 | 21917 | 183570 | 183.57 | 6.5049 | 1194.0961 | 1062.7455
2004-10-01 | 2004-10-28 | 23941 | 293480 | 293.48 | 6.5049 | 1909.0447 | 1699.0497
2004-11-01 | 2004-11-29 | 25529 | 230260 | 230.26 | 6.5049 | 1497.8078 | 1333.0489
2004-12-01 | 2005-01-03 | 26896 | 198215 | 198.215 | 6.5049 | 1289.3597 | 1147.5301
2005-01-01 | 2005-01-31 | 28535 | 237655 | 237.655 | 6.5049 | 1545.9112 | 1375.8609
2005-02-01 | 2005-02-28 | 30186 | 239395 | 239.395 | 6.5049 | 1557.2296 | 1385.9344
2005-03-01 | 2005-03-22 | 31252 | 154570 | 154.57 | 6.5049 | 1005.4553 | 894.8553
2005-04-01 | 2005-04-26 | 32908 | 240120 | 240.12 | 6.5049 | 1561.9456 | 1390.1316
2005-05-01 | 2005-05-26 | 33769 | 124845 | 124.845 | 6.5049 | 812.0985 | 722.7677
2005-06-01 | 2005-06-27 | 34630 | 124845 | 124.845 | 6.5049 | 812.0985 | 722.7677
2005-07-01 | 2005-07-28 | 35458 | 120060 | 120.06 | 6.8485 | 822.2362 | 731.7902
2005-08-01 | 2005-08-29 | 36245 | 114115 | 114.115 | 6.8485 | 781.5216 | 695.5542
2005-09-01 | 2005-09-29 | 37388 | 165735 | 165.735 | 6.8485 | 1135.0434 | 1010.1886
2005-10-01 | 2005-10-27 | 38222.4 | 120988 | 120.988 | 6.8485 | 828.5916 | 737.4465
2005-11-01 | 2005-11-23 | 39996 | 257172 | 257.172 | 6.8485 | 1761.2537 | 1567.5158
2005-12-01 | 2005-12-15 | 41230 | 178930 | 178.93 | 6.8485 | 1225.4099 | 1090.6148
2006-01-01 | 2006-01-19 | 42701 | 213295 | 213.295 | 6.8485 | 1460.7601 | 1300.0765
2006-02-01 | 2006-02-16 | 44597 | 274920 | 274.92 | 6.8485 | 1882.8016 | 1675.6935
2006-03-01 | 2006-03-15 | 46188 | 230695 | 230.695 | 6.8485 | 1579.9248 | 1406.1331
2006-04-01 | 2006-04-17 | 48060 | 271440 | 271.44 | 6.8485 | 1858.9687 | 1654.4821
2006-05-01 | 2006-05-19 | 49137 | 156165 | 156.165 | 6.8485 | 1069.5028 | 951.8575
2006-06-01 | 2006-06-14 | 49703 | 82070 | 82.07 | 6.8485 | 562.06 | 500.2334
2006-07-01 | 2006-07-17 | 50492.97 | 114545.65 | 114.5457 | 10.0194 | 1147.6807 | 1021.4358
2006-08-01 | 2006-08-15 | 51183.77 | 100166 | 100.166 | 10.0194 | 1003.605 | 893.2084
2006-09-01 | 2006-09-15 | 52613 | 207238.35 | 207.2384 | 10.0194 | 2076.4075 | 1848.0027
2006-10-01 | 2006-10-15 | 54806 | 317985 | 317.985 | 10.0194 | 3186.0245 | 2835.5618
2006-11-01 | 2006-11-15 | 56924 | 307110 | 307.11 | 10.0194 | 3077.0633 | 2738.5863
2006-12-01 | 2006-12-15 | 59255 | 337995 | 337.995 | 10.0194 | 3386.513 | 3013.9966
2007-01-01 | 2006-01-15 | 60519 | 183280 | 183.28 | 10.0194 | 1836.3588 | 1634.3594
2007-02-01 | 2007-02-15 | 63008 | 360905 | 360.905 | 10.0194 | 3616.0579 | 3218.2915
2007-03-01 | 2007-03-15 | 66117 | 450805 | 450.805 | 10.0194 | 4516.8035 | 4019.9551
2007-04-01 | 2007-04-16 | 68141 | 293480 | 293.48 | 10.0194 | 2940.4986 | 2617.0438
2007-05-01 | 2007-05-17 | 68528 | 56115 | 56.115 | 10.0194 | 562.2396 | 500.3933
2007-06-01 | 2007-06-13 | 69252 | 104980 | 104.98 | 10.0194 | 1051.8384 | 936.1362 | 25276.9709
2007-07-01 | 2007-07-17 | 70183 | 134995 | 134.995 | 11.1068 | 1499.3619 | 1334.4321
2007-08-01 | 2007-08-15 | 71004 | 119045 | 119.045 | 11.1068 | 1322.2085 | 1176.7656
2007-09-01 | 2007-09-19 | 72299 | 187775 | 187.775 | 11.1068 | 2085.5786 | 1856.165
2007-10-01 | 2007-10-15 | 73536 | 179365 | 179.365 | 11.1068 | 1992.1705 | 1773.0317
2007-11-01 | 2007-11-19 | 75765 | 323205 | 323.205 | 11.1068 | 3589.772 | 3194.8971
2007-12-01 | 2007-12-14 | 77776 | 291595 | 291.595 | 11.1068 | 3238.6862 | 2882.4307
2008-01-01 | 2008-01-14 | 79046 | 184150 | 184.15 | 11.1068 | 2045.3165 | 1820.3317
2008-02-01 | 2008-02-14 | 81071 | 293625 | 293.625 | 11.1068 | 3261.233 | 2902.4974
2008-03-01 | 2008-03-18 | 84306 | 469075 | 469.075 | 11.1068 | 5209.9204 | 4636.8291
2008-04-01 | 2008-04-15 | 86453 | 311315 | 311.315 | 11.1068 | 3457.7122 | 3077.3639
2008-05-01 | 2008-05-15 | 87708 | 181975 | 181.975 | 11.1068 | 2021.1592 | 1798.8317
2008-06-01 | 2008-06-18 | 88719 | 146595 | 146.595 | 11.1068 | 1628.2008 | 1449.0987 | 27902.6748
2008-07-01 | 2008-07-16 | 89628 | 131805 | 131.805 | 10.81 | 1424.8121 | 1268.0827
2008-08-01 | 2008-08-18 | 90511 | 128035 | 128.035 | 10.81 | 1384.0584 | 1231.8119
2008-09-01 | 2008-09-15 | 91689 | 170810 | 170.81 | 10.81 | 1846.4561 | 1643.3459
2008-10-01 | 2008-10-15 | 93202 | 219385 | 219.385 | 10.81 | 2371.5518 | 2110.6811
2008-11-01 | 2008-11-18 | 95486 | 331180 | 331.18 | 10.81 | 3580.0558 | 3186.2497
2008-12-01 | 2008-12-15 | 97660 | 315230 | 315.23 | 10.81 | 3407.6363 | 3032.7963
2009-01-01 | 2009-01-16 | 99365 | 247225 | 247.225 | 10.81 | 2672.5023 | 2378.527
2009-02-01 | 2009-02-17 | 101643 | 330310 | 330.31 | 10.81 | 3570.6511 | 3177.8795
2009-03-01 | 2009-03-17 | 103790 | 311315 | 311.315 | 10.81 | 3365.3151 | 2995.1305
2009-04-01 | 2009-04-20 | 106713 | 423835 | 423.835 | 10.81 | 4581.6563 | 4077.6742
2009-05-01 | 2009-05-15 | 107770 | 153265 | 153.265 | 10.81 | 1656.7946 | 1474.5472
2009-06-01 | 2009-06-15 | 108731 | 139345 | 139.345 | 10.81 | 1506.3194 | 1340.6243 | 27917.3504
2009-07-01 | 2009-07-17 | 109648 | 132965 | 132.965 | 10.36 | 1377.5174 | 1225.9905
2009-08-01 | 2009-08-17 | 111435 | 259115 | 259.115 | 10.36 | 2684.4314 | 2389.1439
2009-09-01 | 2009-09-15 | 114092 | 385265 | 385.265 | 10.36 | 3991.3454 | 3552.2974
2009-10-01 | 2009-10-16 | 115887 | 260275 | 260.275 | 10.36 | 2696.449 | 2399.8396
2009-11-01 | 2009-11-16 | 117664 | 257665 | 257.665 | 10.36 | 2669.4094 | 2375.7744
2009-12-01 | 2009-12-15 | 119677 | 291885 | 291.885 | 10.36 | 3023.9286 | 2691.2965
2010-01-01 | 2010-01-15 | 121574 | 275065 | 275.065 | 10.36 | 2849.6734 | 2536.2093
2010-02-01 | 2010-02-15 | 123471 | 275065 | 275.065 | 10.36 | 2849.6734 | 2536.2093
2010-03-01 | 2010-03-15 | 125976 | 363225 | 363.225 | 10.36 | 3763.011 | 3349.0798
2010-04-01 | 2010-04-16 | 127829 | 268685 | 268.685 | 10.36 | 2783.5766 | 2477.3832
2010-05-01 | 2010-05-14 | 128896 | 154715 | 154.715 | 10.36 | 1602.8474 | 1426.5342
2010-06-01 | 2010-06-14 | 129829 | 135285 | 135.285 | 10.36 | 1401.5526 | 1247.3818 | 28207.1399
2010-07-01 | 2010-07-16 | 130763 | 135430 | 135.43 | 9.66 | 1308.2538 | 1164.3459
2010-08-01 | 2010-08-16 | 131496 | 106285 | 106.285 | 9.66 | 1026.7131 | 913.7747
2010-09-01 | 2010-09-17 | 133655 | 313055 | 313.055 | 9.66 | 3024.1113 | 2691.4591
2010-10-01 | 2010-10-15 | 135240 | 229825 | 229.825 | 9.66 | 2220.1095 | 1975.8975
2010-11-01 | 2010-11-15 | 137041 | 261145 | 261.145 | 9.66 | 2522.6607 | 2245.168
2010-12-01 | 2010-12-14 | 140872 | 555495 | 555.495 | 9.66 | 5366.0817 | 4775.8127
2011-01-01 | 2011-01-17 | 143356 | 360180 | 360.18 | 9.66 | 3479.3388 | 3096.6115
2011-02-01 | 2011-02-14 | 145730 | 344230 | 344.23 | 9.66 | 3325.2618 | 2959.483
2011-03-01 | 2011-03-18 | 148530 | 406000 | 406 | 9.66 | 3921.96 | 3490.5444
2011-04-01 | 2011-04-15 | 150812 | 330890 | 330.89 | 9.66 | 3196.3974 | 2844.7937
2011-05-01 | 2011-05-16 | 152337 | 221125 | 221.125 | 9.66 | 2136.0675 | 1901.1001
2011-06-01 | 2011-06-17 | 153518 | 171245 | 171.245 | 9.66 | 1654.2267 | 1472.2618
Numbers in Red are Estimates

## Water Usage
Oakland Center
Water and Sewer Consumption & Costs
| North Water Meter (Controltron) |  |  |  | South Water Meter | [6 empty] | 89%
Billing | Date of | Meter Reading | Consumption | Consumption | Date of | Meter Reading | Consumption | Consumption | Unit Cost | Total | Total Monthly | OC Partial
Month | Meter Reading | gal. X 1000 | gallons | cubic feet | Meter Reading | gal. X 100 | gallons | cubic feet | $ / cu ft | cu feet | Cost | Cost
2003-06-01 | 2003-07-01
2003-07-01 |  |  | 100000 | 13368.984 |  |  | 150000 | 20053.4759 | 0.0355 |  | 1186.4973 | 711.8984
2003-08-01 |  |  | 100000 | 13368.984 |  |  | 150000 | 20053.4759 | 0.0355 |  | 1186.4973 | 711.8984
2003-09-01 | 2003-09-24 | 157.8714 | 157871.4024 | 21105.8025 |  |  | 150000 | 20053.4759 | 0.0355 |  | 1461.1544 | 876.6926
2003-10-01 | 2003-10-24 | 461.5022 | 303630.7946 | 40592.3522 |  |  | 150000 | 20053.4759 | 0.0355 |  | 2152.9269 | 1916.1049
2003-11-01 | 2003-11-21 | 728.4509 | 266948.7064 | 35688.3297 |  |  | 150000 | 20053.4759 | 0.0355 |  | 1978.8341 | 1761.1623
2003-12-01 | 2004-12-29 | 1002.4592 | 274008.2781 | 36632.1227 |  |  | 150000 | 20053.4759 | 0.0355 |  | 2012.3388 | 1790.9815
2004-01-01 | 2004-01-29 | 1203.0133 | 200554.1266 | 26812.049 |  |  | 150000 | 20053.4759 | 0.0355 |  | 1663.7261 | 1480.7163
2004-02-01 | 2004-02-25 | 1651.5245 | 448511.2009 | 59961.3905 |  |  | 150000 | 20053.4759 | 0.0355 |  | 2840.5278 | 2528.0697
2004-03-01 | 2004-03-23 | 1819.57 | 168045.4911 | 22465.9747 |  |  | 150000 | 20053.4759 | 0.0355 |  | 1509.4405 | 1343.402
2004-04-01 | 2004-04-27 | 2328.6 | 509030 | 68052.139 |  |  | 150000 | 20053.4759 | 0.0355 |  | 3127.7493 | 2783.6969
2004-05-01 | 2004-05-26 | 2697.7 | 369100 | 49344.9198 |  |  | 150000 | 20053.4759 | 0.0355 |  | 2463.643 | 2192.6423
2004-06-01 | 2004-06-23 | 3079.4 | 381700 | 51029.4118 |  |  | 150000 | 20053.4759 | 0.0355 |  | 2523.4425 | 2245.8638
2004-07-21 | 2004-07-27 | 3584.4 | 505000 | 67513.369 | 2004-08-14 | 4 |  | 0 | 0.0355 |  | 2396.7246 | 2133.0849
2004-08-01 | 2004-08-30 | 4077.3 | 492900 | 65895.7219 | 2004-08-30 | 1075 | 107100 | 30426.1364 | 0.0355 |  | 3419.426 | 3043.2891
2004-09-01 | 2004-09-27 | 4579 | 501700 | 67072.1925 | 2004-09-27 | 1573 | 49800 | 6657.754 | 0.0355 |  | 2617.4131 | 2329.4977
2004-10-01 | 2004-10-28 | 5148.7 | 569700 | 76163.1016 | 2004-10-28 | 3063 | 149000 | 19919.7861 | 0.0355 |  | 3410.9425 | 3035.7388
2004-11-01 | 2004-11-29 | 5617.4 | 468700 | 62660.4278 | 2004-11-29 | 3836 | 77300 | 10334.2246 | 0.0355 |  | 2591.3102 | 2306.266
2004-12-01 | 2005-01-03 | 6062.6 | 445200 | 59518.7166 | 2005-01-03 | 4149 | 31300 | 4184.492 | 0.0355 |  | 2261.4639 | 2012.7029
2005-01-01 | 2005-01-31 | 6466.8 | 404200 | 54037.4332 | 2005-01-31 | 4625 | 47600 | 6363.6364 | 0.0355 |  | 2144.238 | 1908.3718
2005-02-01 | 2005-02-28 | 6885 | 418200 | 55909.0909 | 2005-02-28 | 5211 | 58600 | 7834.2246 | 0.0355 |  | 2262.8877 | 2013.9701
2005-03-01 | 2005-03-22 | 7186.4 | 301400 | 40294.1176 | 2005-03-22 | 5536 | 32500 | 4344.9198 | 0.0355 |  | 1584.6858 | 1410.3704
2005-04-01 | 2005-04-26 | 7715.1 | 528700 | 70681.8182 | 2005-04-26 | 6860 | 132400 | 17700.5348 | 0.0355 |  | 3137.5735 | 2792.4404
2005-05-01 | 2005-05-26 | 8152.6 | 437500 | 58489.3048 | 2005-05-26 | 7894 | 103400 | 13823.5294 | 0.0355 |  | 2567.1056 | 2284.724
2005-06-01 | 2005-06-27 | 8573.5 | 420900 | 56270.0535 | 2005-06-27 | 9313 | 141900 | 18970.5882 | 0.0355 |  | 2671.0428 | 2377.2281
2005-07-01 | 2005-07-28 | 9000.3 | 426800 | 57058.8235 | 2005-07-28 | 13310 | 399700 | 53435.8289 | 0.0355 |  | 3922.5602 | 3491.0785
2005-08-01 | 2005-08-29 | 9520.8 | 520500 | 69585.5615 | 2005-08-29 | 17177 | 386700 | 51697.861 | 0.0355 |  | 4305.5615 | 3831.9497
2005-09-01 | 2005-09-28 | 9963.22 | 442420 | 59147.0588 | 2005-09-28 | 20393 | 321600 | 42994.6524 | 0.0355 |  | 3626.0307 | 3227.1674
2005-10-01 | 2005-10-27 | 10356.5 | 393280 | 52577.5401 | 2005-10-27 | 21970 | 157700 | 21082.8877 | 0.0355 |  | 2614.9452 | 2327.3012
2005-11-01 | 2005-11-23 | 10656.4 | 299900 | 40093.5829 | 2005-11-23 | 22744 | 77400 | 10347.5936 | 0.0355 |  | 1790.6618 | 1593.689
2005-12-01 | 2005-12-15 | 10836.9 | 180500 | 24131.016 | 2005-12-15 | 24516 | 177200 | 23689.8396 | 0.0355 |  | 1697.6404 | 1510.8999
2006-01-01 | 2006-01-19 | 11125.7 | 288800 | 38609.6257 | 2006-01-19 | 24912 | 39600 | 5294.1176 | 0.0355 |  | 1558.5829 | 1387.1388
2006-02-01 | 2006-02-16 | 11433.6 | 307900 | 41163.1016 | 2006-02-16 | 25591 | 67900 | 9077.5401 | 0.0355 |  | 1783.5428 | 1587.3531
2006-03-01 | 2006-03-15 | 11675.5 | 241900 | 32339.5722 | 2006-03-15 | 26046 | 45500 | 6082.8877 | 0.0355 |  | 1363.9973 | 1213.9576
2006-04-01 | 2006-04-17 | 12018.7 | 343200 | 45882.3529 | 2006-04-17 | 27047 | 100100 | 13382.3529 | 0.0355 |  | 2103.8971 | 1872.4684
2006-05-01 | 2006-05-19 | 12368.9 | 350200 | 46818.1818 | 2006-05-19 | 28968 | 192100 | 25681.8182 | 0.0355 |  | 2573.75 | 2290.6375
2006-06-01 | 2006-06-14 | 12634.9 | 266000 | 35561.4973 | 2006-06-14 | 30950 | 198200 | 26497.3262 | 0.0355 |  | 2203.0882 | 1960.7485
2006-07-01 | 2006-07-17 | 12969.16 | 334260 | 44687.1658 | 2006-07-17 | 33852 | 290200 | 38796.7914 | 0.0355 | 83483.9572 | 2963.6805 | 2637.6756
2006-08-01 | 2006-08-15 | 13263.1 | 293940 | 39296.7914 | 2006-08-15 | 37036 | 318400 | 42566.8449 | 0.0355 | 81863.6364 | 2906.1591 | 2586.4816
2006-09-01 | 2006-09-15 | 13706.4 | 443300 | 59264.7059 | 2006-09-15 | 41253 | 421700 | 56377.0053 | 0.0355 | 115641.7112 | 4105.2807 | 3653.6999
2006-10-01 | 2006-10-15 | 14212.5 | 506100 | 67660.4278 | 2006-10-15 | 42703 | 145000 | 19385.0267 | 0.0355 | 87045.4545 | 3090.1136 | 2750.2011
2006-11-01 | 2006-11-15 | 14664.51 | 452010 | 60429.1444 | 2006-11-15 | 43522 | 81900 | 10949.1979 | 0.0355 | 71378.3422 | 2533.9311 | 2255.1987
2006-12-01 | 2006-12-15 | 15060.11 | 395600 | 52887.7005 | 2006-12-15 | 44037 | 51500 | 6885.0267 | 0.0355 | 59772.7273 | 2121.9318 | 1888.5193
2007-01-01 | 2007-01-15 | 15340.37 | 280260 | 37467.9144 | 2007-01-15 | 44241 | 20400 | 2727.2727 | 0.0355 | 40195.1872 | 1426.9291 | 1269.9669
2007-02-01 | 2007-02-15 | 15706.01 | 365640 | 48882.3529 | 2007-02-15 | 44796 | 55500 | 7419.7861 | 0.0355 | 56302.139 | 1998.7259 | 1778.8661
2007-03-01 | 2007-03-17 | 16058.58 | 352570 | 47135.0267 | 2007-03-17 | 45215 | 41900 | 5601.6043 | 0.0355 | 52736.631 | 1872.1504 | 1666.2139
2007-04-01 | 2007-04-16 | 16445.71 | 387130 | 51755.3476 | 2007-04-16 | 45781 | 56600 | 7566.8449 | 0.0355 | 59322.1925 | 2105.9378 | 1874.2847
2007-05-01 | 2007-05-17 | 16837.19 | 391480 | 52336.8984 | 2007-05-17 | 46846 | 106500 | 14237.9679 | 0.0355 | 66574.8663 | 2363.4078 | 2103.4329
2007-06-01 | 2007-06-13 | 17135.28 | 298090 | 39851.6043 | 2007-06-13 | 48543 | 169700 | 22687.1658 | 0.0355 | 62538.7701 | 2220.1263 | 1975.9124 | 26440.4532
2007-07-01 | 2007-07-17 | 17518.14 | 382860 | 51184.492 | 2007-07-17 | 53095 | 455200 | 60855.615 | 0.0366 | 112040.107 | 4100.6679 | 3649.5944
2007-08-01 | 2007-08-15 | 17861.94 | 343800 | 45962.5668 | 2007-08-15 | 56360 | 326500 | 43649.7326 | 0.0366 | 89612.2995 | 3279.8102 | 2919.031
2007-09-01 | 2007-09-19 | 18313.2 | 451260 | 60328.877 | 2007-09-19 | 59537 | 317700 | 42473.262 | 0.0366 | 102802.139 | 3762.5583 | 3348.6769
2007-10-01 | 2007-10-15 | 18648.89 | 335690 | 44878.3422 | 2007-10-15 | 61801 | 226400 | 30267.3797 | 0.0366 | 75145.7219 | 2750.3334 | 2447.7967
2007-11-01 | 2007-11-19 | 19086.38 | 437490 | 58487.9679 | 2007-11-19 | 63107 | 130600 | 17459.893 | 0.0366 | 75947.861 | 2779.6917 | 2473.9256
2007-12-01 |  | 19481.98 | 395600 | 52887.7005 |  | 63622 | 51500 | 6885.0267 | 0.0366 | 59772.7273 | 2187.6818 | 1947.0368
2008-01-01 | 2008-01-14 | 19667.19 | 185210 | 24760.6952 | 2008-01-14 | 63774 | 15200 | 2032.0856 | 0.0366 | 26792.7807 | 980.6158 | 872.748
2008-02-01 | 2008-02-14 | 20042.9 | 375710 | 50228.6096 | 2008-02-14 | 64421 | 64700 | 8649.7326 | 0.0366 | 58878.3422 | 2154.9473 | 1917.9031
2008-03-01 | 2008-03-18 | 20443.59 | 400690 | 53568.1818 | 2008-03-18 | 64951 | 53000 | 7085.5615 | 0.0366 | 60653.7433 | 2219.927 | 1975.735
2008-04-01 | 2008-04-15 | 20851.19 | 407600 | 54491.9786 | 2008-04-15 | 65523 | 57200 | 7647.0588 | 0.0366 | 62139.0374 | 2274.2888 | 2024.117
2008-05-01 | 2008-05-15 | 21209.63 | 358440 | 47919.7861 | 2008-05-15 | 66661 | 113800 | 15213.9037 | 0.0366 | 63133.6898 | 2310.693 | 2056.5168
2008-06-01 | 2008-06-16 | 21529.13 | 319500 | 42713.9037 | 2008-06-16 | 68654 | 199300 | 26644.385 | 0.0366 | 69358.2888 | 2538.5134 | 2259.2769 | 27892.3585
2008-07-01 | 2008-07-16 | 21814.64 | 285510 | 38169.7861 | 2008-07-16 | 70930 | 227600 | 30427.8075 | 0.0397 | 68597.5936 | 2723.3245 | 2423.7588
2008-08-01 | 2008-08-18 | 22123.34 | 308700 | 41270.0535 | 2008-08-18 | 73661 | 273100 | 36510.6952 | 0.0397 | 77780.7487 | 3087.8957 | 2748.2272
2008-09-01 | 2008-09-15 | 22516.7 | 393360 | 52588.2353 | 2008-09-15 | 76046 | 238500 | 31885.0267 | 0.0397 | 84473.262 | 3353.5885 | 2984.6938
2008-10-01 | 2008-10-15 | 22920.58 | 403880 | 53994.6524 | 2008-10-15 | 78020 | 197400 | 26390.3743 | 0.0397 | 80385.0267 | 3191.2856 | 2840.2441
2008-11-01 | 2008-11-18 | 23359.59 | 439010 | 58691.1765 | 2008-11-18 | 79103 | 108300 | 14478.6096 | 0.0397 | 73169.7861 | 2904.8405 | 2585.3081
2008-12-01 | 2008-12-15 | 23697.88 | 338290 | 45225.9358 | 2008-12-15 | 79616 | 51300 | 6858.2888 | 0.0397 | 52084.2246 | 2067.7437 | 1840.2919
2009-01-01 | 2009-01-16 | 24039 | 341120 | 45604.2781 | 2009-01-16 | 79455 | -16100 | -2152.4064 | 0.0397 | 43451.8717 | 1725.0393 | 1535.285
2009-02-01 | 2009-02-17 | 24407 | 368000 | 49197.861 | 2009-02-17 | 80699 | 124400 | 16631.016 | 0.0397 | 65828.877 | 2613.4064 | 2325.9317
2009-03-01 | 2009-03-17 | 24730 | 323000 | 43181.8182 | 2009-03-17 | 81294 | 59500 | 7954.5455 | 0.0397 | 51136.3636 | 2030.1136 | 1806.8011
2009-04-01 | 2009-04-20 | 25272.19 | 542190 | 72485.2941 | 2009-04-20 | 82544 | 125000 | 16711.2299 | 0.0397 | 89196.5241 | 3541.102 | 3151.5808
2009-05-01 | 2009-05-15 | 25564.1 | 291910 | 39025.4011 | 2009-05-15 | 83413 | 86900 | 11617.6471 | 0.0397 | 50643.0481 | 2010.529 | 1789.3708
2009-06-01 | 2009-06-15 | 26020.7 | 456600 | 61042.7807 | 2009-06-15 | 84727 | 131400 | 17566.8449 | 0.0397 | 78609.6257 | 3120.8021 | 2777.5139 | 28809.0072
2009-07-01 | 2009-07-17 | 26375.56 | 354860 | 47441.1765 | 2009-07-17 | 87142 | 241500 | 32286.0963 | 0.0397 | 79727.2727 | 3165.1727 | 2817.0037
2009-08-01 | 2009-08-17 | 26702.77 | 327210 | 43744.6524 | 2009-08-17 | 89774 | 263200 | 35187.1658 | 0.0397 | 78931.8182 | 3133.5932 | 2788.8979
2009-09-01 | 2009-09-15 | 26866.38 | 163610 | 21872.9947 | 2009-09-15 | 91822 | 204800 | 27379.6791 | 0.0397 | 49252.6738 | 1955.3311 | 1740.2447
2009-10-01 | 2009-10-16 | 27467.27 | 600890 | 80332.8877 | 2009-10-16 | 93487 | 166500 | 22259.3583 | 0.0397 | 102592.246 | 4072.9122 | 3624.8918
2009-11-01 | 2009-11-16 | 27855.51 | 388240 | 51903.7433 | 2009-11-16 | 94298 | 81100 | 10842.246 | 0.0397 | 62745.9893 | 2491.0158 | 2217.004
2009-12-01 | 2009-12-15 | 28227.73 | 372220 | 49762.0321 | 2009-12-15 | 94907 | 60900 | 8141.7112 | 0.0397 | 57903.7433 | 2298.7786 | 2045.913
2010-01-01 | 2010-01-15 | 28506.26 | 278530 | 37236.631 | 2010-01-15 | 95269 | 36200 | 4839.5722 | 0.0397 | 42076.2032 | 1670.4253 | 1486.6785
2010-02-01 | 2010-02-15 | 28858.19 | 351930 | 47049.4652 | 2010-02-15 | 96002 | 73300 | 9799.4652 | 0.0397 | 56848.9305 | 2256.9025 | 2008.6433
2010-03-01 | 2010-03-15 | 29185.66 | 327470 | 43779.4118 | 2010-03-15 | 96584 | 58200 | 7780.7487 | 0.0397 | 51560.1604 | 2046.9384 | 1821.7751
2010-04-01 | 2010-04-16 | 29610.54 | 424880 | 56802.139 | 2010-04-16 | 97423 | 83900 | 11216.5775 | 0.0397 | 68018.7166 | 2700.343 | 2403.3053
2010-05-01 | 2010-05-14 | 29889.86 | 279320 | 37342.246 | 2010-05-14 | 97944 | 52100 | 6965.2406 | 0.0397 | 44307.4866 | 1759.0072 | 1565.5164
2010-06-01 | 2010-06-14 | 30204.52 | 314660 | 42066.8449 | 2010-06-14 | 100049 | 210500 | 28141.7112 | 0.0397 | 70208.5561 | 2787.2797 | 2480.6789 | 27000.5528
2010-07-01 | 2010-07-16 | 30540.74 | 336220 | 44949.1979 | 2010-07-16 | 102922 | 287300 | 38409.0909 | 0.0385 | 83358.2888 | 3209.2941 | 2856.2718
2010-08-01 | 2010-08-16 | 30845.62 | 304880 | 40759.3583 | 2010-08-16 | 105987 | 306500 | 40975.9358 | 0.0385 | 81735.2941 | 3146.8088 | 2800.6599
2010-09-01 | 2010-06-17 | 31246.44 | 400820 | 53585.5615 | 2010-09-17 | 108809 | 282200 | 37727.2727 | 0.0385 | 91312.8342 | 3515.5441 | 3128.8343
2010-10-01 | 2010-10-15 | 31609.87 | 363430 | 48586.8984 | 2010-10-15 | 110597 | 178800 | 23903.7433 | 0.0385 | 72490.6417 | 2790.8897 | 2483.8918
2010-11-01 | 2010-11-15 | 32051.32 | 441450 | 59017.3797 | 2010-11-15 | 111673 | 107600 | 14385.0267 | 0.0385 | 73402.4064 | 2825.9926 | 2515.1335
2010-12-01 | 2010-12-14 | 32426.29 | 374970 | 50129.6791 | 2010-12-14 | 112323 | 65000 | 8689.8396 | 0.0385 | 58819.5187 | 2264.5515 | 2015.4508
2011-01-01 | 2011-01-17 | 32776.1 | 349810 | 46766.0428 | 2011-01-17 | 112718 | 39500 | 5280.7487 | 0.0385 | 52046.7914 | 2003.8015 | 1783.3833
2011-02-01 | 2011-02-14 | 33090.71 | 314610 | 42060.1604 | 2011-02-14 | 113403 | 68500 | 9157.754 | 0.0385 | 51217.9144 | 1971.8897 | 1754.9818
2011-03-01 | 2011-03-17 | 33393.33 | 302620 | 40457.2193 | 2011-03-17 | 114130 | 72700 | 9719.2513 | 0.0385 | 50176.4706 | 1931.7941 | 1719.2968
2011-04-01 | 2011-04-15 | 33677.95 | 284620 | 38050.8021 | 2011-04-15 | 114861 | 73100 | 9772.7273 | 0.0385 | 47823.5294 | 1841.2059 | 1638.6732
2011-05-01 | 2011-05-16 | 33938.73 | 260780 | 34863.6364 | 2011-05-16 | 115442 | 58100 | 7767.3797 | 0.0385 | 42631.016 | 1641.2941 | 1460.7518
2011-06-01 | 2011-06-17 | 34213.53 | 274800 | 36737.9679 | 2011-06-17 | 116499 | 105700 | 14131.016 | 0.0385 | 50868.984 | 1958.4559 | 1743.0257
Numbers in Red are Estimates
Formulas:
Date of = IF([Date of]="","",[Date of])
Date of = [Date of]

## Rates
OU Auxiliary Utility Rates
FY 2011
Electric Rate
| Electricity Average Cost |  |  | 0.077 | per kW-hour
| Transportation cost to OU |  |  | 0 | per kW-hour
| Transportation cost to Auxiliary |  |  | 0.01 | per kW-hour
| TOTAL RATE |  |  | 0.087 | per kW-hour
For Reference: Detroit Edison - General Service Rate D3 = $0.0995 per kW-hour
Natural Gas Rate
| Averaged Annual Gas Cost |  |  | 7.9 | per MMBtu
| Transportation cost to OU |  |  | 0.66 | per MMBtu
| Transportation cost to Auxiliary |  |  | 1.1 | per MMBtu
| Total cost |  |  | 9.66 | per MMBtu
| Conversion to MCF |  | 1 |  | MMBtu per MCF
|  |  |  | 9.66 | per MCF
| TOTAL RATE |  |  | 0.966 | per CCF
CCF = 100 Cubic Feet, MCF = Million Cubic Feet, MMBTU = Million British Thermal Units
Consumers Energy bill in CCF, so this unit is used for the SA for comparison to the Consumers billings
Water & Sewer Rate
| Auburn Hills Water Cost |  |  | 0.0175 | per cubic feet
| Auburn Hills Sewer Cost |  |  | 0.0175 | per cubic feet
| Transportation cost to Auxiliary |  |  | 0.0035 | per cubic feet
| TOTAL RATE |  |  | 0.0385 | per cubic feet
High Temperature Hot Water MMBTU Cost Calculation
| Item | ADD | Cost per MMBTU | Notes
| Item | ADD | Cost per MMBTU | Raw fuel input to boilers = avg annual gas cost + transp to OU
| Natural Gas Cost |  | 8.56 | Add cost to convert natural gas to hot water, boiler losses
80% | Boiler Efficiency | 2.14 | 10.7 | Add cost to run power house: pumping power, labor, and maint.
10% | Central Plant O&M | 1.07 | 11.77 | Add cost for distribution system losses
80% | Distribution System Eff. | 2.9425 | 14.7125 | Add cost for metering, data collection, analysis, & billing
5% | Metering & Disrib. O&M | 0.73562 | 15.4481
| TOTAL Cost |  | 15.4481